## Read_Me
Kerala Home, Phase 1: schedules
Stage: Concept, not for construction. Revision A (concept), 30 Oct 2026.
All dimensions in feet at wall centrelines, taken from the concept plan (sheet A-102).
How to use
Yellow cells are for you to fill in (budget estimates, chosen products, status). Everything else is calculated or drawn from the plan.
Example: in Furniture, type 18000 in 'Est. unit cost (Rs)' for an item costing Rs 18,000; the line total and grand total update automatically.
Areas, heights and totals are formulas, so editing a room's size updates its area.
Tabs
Rooms: room sizes and areas. Doors / Windows: opening sizes and types. Furniture: every furniture item, fixture and built-in, with budget columns.
Finishes: proposed floor, wall and ceiling finishes. Open_Issues: items to resolve with professionals. Decisions: what has been agreed so far.

## Rooms
ID | Room | Zone | E-W (ft) | N-S (ft) | Area (sq ft) | Area (sq m) | Notes
R01 | Office 2 | Master suite | 9 | 8
R02 | Walk-in wardrobe | Master suite | 7 | 8
R03 | Dressing alcove | Master suite | 5 | 6
R04 | Ensuite | Master suite | 5 | 8
R05 | Master bedroom | Master suite | 11 | 14
R06 | Office 1 | Work | 9 | 8
R07 | Bath 2 | Service | 6 | 8
R08 | Hall | Circulation | 12 | 4
R09 | Bedroom 2 | Private | 12 | 10 |  |  | Includes 2' x 6' built-in wardrobe
R10 | Dining (skylit) | Living | 9 | 8 |  |  | Under skylight, at plot centre
R11 | Pooja | Living | 9 | 6
R12 | Store | Service | 6 | 8
R13 | Wet area (semi-open) | Service | 8 | 6 |  |  | Semi-open, jali on south wall
R14 | Wash link | Circulation | 8 | 4
R15 | Kitchen | Service | 10 | 10
R16 | Living | Living | 12 | 12
R17 | Poomukham (verandah) | Entry | 6 | 12 |  |  | Open verandah
| Total (centreline areas) | [5 empty] | Built footprint 55' x 22' = 1,210 sq ft
Note on G1: 1 sq ft = 0.092903 sq m

## Doors
ID | Location | Width (ft) | Height (ft) | Operation | Type / material | Chosen product | Status
D01 | Main entrance | 3 | 7 | Hinged, double | Teak panelled, double leaf
D02 | Service door, wet area | 2 | 7 | Hinged, single | Steel frame + grille, insect mesh
D03 | Office 2 to master | 6 | 7 | Sliding | Sliding, laminated glass + brush seals
D04 | Walk-in wardrobe | 2.5 | 7 | Hinged, single | Flush, teak veneer
D05 | Ensuite | 2.5 | 7 | Hinged, single | Flush, waterproof (WPC/FRP)
D06 | Master bedroom | 2.5 | 7 | Hinged, single | Flush, teak veneer
D07 | Office 1 | 2.5 | 7 | Hinged, single | Solid-core, acoustic seals
D08 | Bath 2 | 2.5 | 7 | Hinged, single | Flush, waterproof (WPC/FRP)
D09 | Store | 2.5 | 7 | Hinged, single | Flush, teak veneer
D10 | Bedroom 2 | 2.5 | 7 | Hinged, single | Flush, teak veneer
D11 | Pooja | 2.5 | 7 | Hinged, double | Carved teak, double leaf
D12 | Kitchen to wet area | 2.5 | 7 | Hinged, single | Flush, waterproof (WPC/FRP)

## Windows
ID | Room | Wall faces | Width (ft) | Sill (ft) | Head (ft) | Height (ft) | Type | Status
W01 | Office 2 | South | 5 | 3 | 7 |  | Timber jali + glazed shutters
W02 | Walk-in wardrobe | South | 3 | 5 | 7 |  | High vent, jali
W03 | Office 1 | South | 5 | 3 | 7 |  | Timber jali + glazed shutters
W04 | Bath 2 | South | 2 | 5 | 7 |  | High vent, frosted louvres
W05 | Store | South | 3 | 5 | 7 |  | High vent, jali + mesh
W06 | Wet area | South | 5.1 | 0.4 | 8 |  | Terracotta jali wall + insect mesh + MS grille
W07 | Kitchen | South | 5 | 3.5 | 7 |  | Timber jali + glazed shutters
W08 | Kitchen | East | 6 | 3.5 | 7 |  | Timber jali + glazed shutters
W09 | Ensuite | North | 3 | 5 | 7 |  | Frosted casement
W10 | Ensuite | West | 4 | 5 | 7 |  | High jali vent
W11 | Master bedroom | North | 6 | 3 | 7 |  | Teak casement, glazed
W12 | Bedroom 2 | North | 6 | 3 | 7 |  | Teak casement, glazed
W13 | Pooja | North | 3 | 4 | 7 |  | Teak casement, glazed
W14 | Living | North | 8 | 2 | 8 |  | Teak casement, tall, glazed
W15 | Living | East (to verandah) | 4 | 3 | 7 |  | Teak casement onto poomukham (morning light)
SK1 | Roof | Up |  |  |  |  | Skylight lantern over dining, 5 x 5 ft, louvred upstand, openable top vent, heat-reflective laminated glass
GV1-3 | Roof | Up |  |  |  |  | Three glazed/jali vents in front gable (mukhappu), morning light into living

## Furniture
ID | Room | Item | Category | E-W (ft) | N-S (ft) | Qty | Material / spec | Est. unit cost (Rs) | Line total (Rs) | Chosen product / vendor | Status
F01 | Office 2 | Work desk 5'6" x 2' | Loose furniture | 1.9 | 5.5 | 1 | Teak or ply + veneer, cable tray
F02 | Office 2 | Ergonomic task chair | Loose furniture | 1.2 | 1.2 | 1 | Mesh back
F03 | Office 2 | Bookshelf, full height (video backdrop) | Built-in joinery | 1.2 | 7 | 1 | Teak / ply, open shelves
F04 | Walk-in wardrobe | Wardrobe run, south wall | Built-in joinery | 6.4 | 2 | 1 | Ply + laminate, 2 ft deep
F05 | Walk-in wardrobe | Wardrobe run, east wall | Built-in joinery | 1.7 | 5.2 | 1 | Ply + laminate
F06 | Dressing alcove | Dresser with mirror | Loose furniture | 1.5 | 4 | 1 | Teak
F07 | Ensuite | Vanity basin counter | Sanitary / plumbing | 2.5 | 1.5 | 1 | Granite top, wall-hung
F08 | Ensuite | WC (EWC) | Sanitary / plumbing | 1.8 | 1.2 | 1 | Wall-hung, concealed cistern
F09 | Ensuite | Shower glass partition | Sanitary / plumbing | 4.4 | 0.2 | 1 | 8 mm toughened glass
F10 | Master bedroom | Queen bed 5' x 6'6" + headboard | Loose furniture | 6.4 | 5 | 1 | Teak, head to east
F11 | Master bedroom | Bedside table | Loose furniture | 1 | 1.1 | 2 | Teak
F12 | Master bedroom | Reading chair | Loose furniture | 1.4 | 1.4 | 1 | Cane / upholstered
F13 | Office 1 | Work desk 5'6" x 2' | Loose furniture | 1.9 | 5.5 | 1 | Teak or ply + veneer, cable tray
F14 | Office 1 | Ergonomic task chair | Loose furniture | 1.2 | 1.2 | 1 | Mesh back
F15 | Office 1 | Bookshelf (video backdrop) | Built-in joinery | 1 | 6 | 1 | Teak / ply
F16 | Bath 2 | WC (EWC) | Sanitary / plumbing | 1.4 | 1.2 | 1 | Wall-hung, concealed cistern
F17 | Bath 2 | Wash basin | Sanitary / plumbing | 2 | 0.7 | 1 | Wall-hung
F18 | Bath 2 | Shower glass partition | Sanitary / plumbing | 2.7 | 0.2 | 1 | 8 mm toughened glass
F19 | Bath 2 | Linen cupboard (acoustic buffer) | Built-in joinery | 2.2 | 1.7 | 1 | Ply + laminate
F20 | Bedroom 2 | Queen bed 5' x 6'6" (or 4'6" double) | Loose furniture | 5 | 6.6 | 1 | Teak, head to south
F21 | Bedroom 2 | Bedside table | Loose furniture | 1.1 | 1.1 | 1 | Teak
F22 | Bedroom 2 | Study desk 5' | Loose furniture | 5 | 1.4 | 1 | Teak / ply
F23 | Bedroom 2 | Built-in wardrobe 6' | Built-in joinery | 2 | 6 | 1 | Ply + laminate, buffer to pooja
F24 | Dining (skylit) | Dining table 5' x 3', 6-seat | Loose furniture | 5 | 3 | 1 | Teak or rosewood
F25 | Dining (skylit) | Dining chair | Loose furniture | 1.1 | 1 | 6 | Teak + cane
F26 | Pooja | Pooja mandapam / shelf (east wall) | Built-in joinery | 0.6 | 3 | 1 | Carved teak
F27 | Pooja | Pooja cupboard | Built-in joinery | 1.3 | 1.6 | 1 | Teak
F28 | Store | Shelving, L-shaped | Built-in joinery | 5.4 | 1.5 | 1 | MS or ply, 1.5 ft deep
F29 | Wet area | Double-bowl utility sink counter | Sanitary / plumbing | 4 | 1.9 | 1 | Kadappa / granite, SS sinks
F30 | Wet area | Washing machine bay 2' x 2' | Appliance / joinery | 1.9 | 2 | 1 | Splash-proof socket, floor drain
F31 | Wet area | Ceiling pulley clothes airer | Built-in joinery | 4 | 2.5 | 1 | Aluminium
F32 | Wash link | Hand-wash basin 16-20 in | Sanitary / plumbing | 2 | 1.1 | 1 | Ceramic, wall-hung
F33 | Wash link | Crockery / serving unit, 1 ft deep | Built-in joinery | 5.1 | 0.9 | 1 | Teak + glass shutters
F34 | Kitchen | L-counter, south run | Built-in joinery | 9.2 | 2 | 1 | Granite top, ply carcass
F35 | Kitchen | L-counter, east run (hob) | Built-in joinery | 2 | 7 | 1 | Granite top, cook faces east
F36 | Kitchen | Refrigerator space | Appliance / joinery | 2.3 | 2 | 1 | Double-door, 2'6" wide
F37 | Living | TV unit + 50-55 in TV | Appliance / joinery | 3.4 | 1.2 | 1 | Teak, on solid wall in screen
F38 | Living | Three-seat sofa 6'6" | Loose furniture | 6.5 | 2.7 | 1 | Teak frame, cotton cushions
F39 | Living | Coffee table 3'6" x 2' | Loose furniture | 3.5 | 2 | 1 | Teak
F40 | Living | Morning armchair by east window | Loose furniture | 2 | 2 | 1 | Cane / teak
F41 | Poomukham (verandah) | Oonjal (swing) 3'6" | Loose furniture | 3.5 | 1.5 | 1 | Teak, chains to beam
F42 | Poomukham (verandah) | Arugu seats (built-in) | Built-in joinery | 1.2 | 4.2 | 2 | Laterite base, teak top
Total
Note on I1: Your estimate per unit, in rupees. Leave blank until you have a quote.

## Finishes
Space | Floor | Walls | Ceiling | Notes | Decision
Living, dining, hall, bedrooms, offices | Red oxide (cement) or terracotta tile | Lime plaster, off-white | Exposed steel truss + clay ceiling tiles / timber | Sloped ceiling in living
Pooja | Wooden or red oxide | Lime plaster, teak panelling | Timber | Idol on east wall
Kitchen | Anti-skid vitrified tile | Glazed tile dado to 2 ft above counter | Plastered slab / board | Granite counters
Ensuite, Bath 2 | Anti-skid ceramic tile | Tile to 7 ft | Moisture-resistant board | Floor falls to drain
Wet area, wash link | Kota / anti-skid tile, falls to drain | Tile dado 4 ft | Open truss | Semi-open, jali wall
Store, walk-in | Red oxide or vitrified | Lime plaster | Board
Poomukham, steps, plinth | Laterite / granite, red oxide | Laterite + lime | Exposed teak rafters | Teak pillars
Roof (all) | Mangalore clay tiles on battens | Membrane + cement-fibre deck | Steel truss | Pest-proof deck

## Open_Issues
# | Category | Issue | Who resolves | Status
1 | Land | Merge the 25 ft plot and 10 ft north strip legally before approval (north wall sits on 25 ft plot line) | Architect / surveyor | Deferred by owner
2 | Land | Confirm side (3 ft) and front (10 ft) setbacks under Kerala building rules | Architect | Deferred by owner
3 | Phase 2 | Phase 2 will block north light: keep a 4-5 ft light gap or open structures only | Architect | Deferred by owner
4 | Services | Septic tank and soak pit in 5 ft rear setback: check sizes and distances | Engineer | Open
5 | Services | Grey-water soak pit location vs sump distance | Engineer | Open
6 | Vastu | Bed head east (master), NW ensuite, central dining, pooja north-centre | Vastu consultant | To confirm
7 | Structure | Steel truss design, skylight framing, front gable; single-storey foundations | Structural engineer | Open
8 | Climate | Skylight heat gain: louvres, top vent, reflective glass | Architect | Open

## Decisions
# | Decision (agreed in concept stage)
1 | Courtyard removed; skylit dining hall at plot centre keeps the Brahmasthan open and lit.
2 | Single storey, no internal stair; roof access by fixed ladder; water tank on stand in SW rear garden.
3 | House length 55 ft (5 ft rear garden, 10 ft front yard).
4 | Service band on south (heat buffer); bedrooms and living get north light.
5 | Kitchen in SE; stove on east wall; semi-open wet area with jali; separate dry store.
6 | Master suite: NW ensuite, dressing alcove, walk-in, Office 2 with sliding glass door.
7 | Office 1 off hall; Bath 2 fixtures kept away from shared wall.
8 | Living: TV on solid wall in south jali screen, sofa under north window, east window for morning light.
9 | Roof: Mangalore clay tiles on steel truss with sealed cement-fibre deck (pest-proof, no slab).